{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["releve 2003.05.23"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"releve 2003.05.23","index":0,"n_rows":1441,"n_cols":6,"rows_kept":1441,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Jour","Heure","P [kW]","Q [kVAr]","A [kWh]","R [kVArh]"]
["23.05.2003","02:15:13",120,120,106220,42462]
["23.05.2003","02:15:43",120,120,106221,42463]
["23.05.2003","02:16:13",0,120,106221,42464]
["23.05.2003","02:16:43",120,0,106222,42464]
["23.05.2003","02:17:13",120,120,106223,42465]
["23.05.2003","02:17:43",120,120,106224,42466]
["23.05.2003","02:18:13",0,120,106224,42467]
["23.05.2003","02:18:43",120,120,106225,42468]
["23.05.2003","02:19:13",120,0,106226,42468]
["23.05.2003","02:19:43",120,120,106227,42469]
["23.05.2003","02:20:13",0,120,106227,42470]
["23.05.2003","02:20:43",120,120,106228,42471]
["23.05.2003","02:21:13",120,0,106229,42471]
["23.05.2003","02:21:43",0,120,106229,42472]
["23.05.2003","02:22:13",120,120,106230,42473]
["23.05.2003","02:22:43",120,120,106231,42474]
["23.05.2003","02:23:13",120,0,106232,42474]
["23.05.2003","02:23:43",0,120,106232,42475]
["23.05.2003","02:24:13",120,120,106233,42476]
["23.05.2003","02:24:43",120,120,106234,42477]
["23.05.2003","02:25:13",120,0,106235,42477]
["23.05.2003","02:25:43",0,120,106235,42478]
["23.05.2003","02:26:13",120,120,106236,42479]
["23.05.2003","02:26:43",120,120,106237,42480]
["23.05.2003","02:27:13",120,0,106238,42480]
["23.05.2003","02:27:43",120,120,106239,42481]
["23.05.2003","02:28:13",0,120,106239,42482]
["23.05.2003","02:28:43",120,120,106240,42483]
["23.05.2003","02:29:13",120,0,106241,42483]
["23.05.2003","02:29:43",120,120,106242,42484]
["23.05.2003","02:30:13",0,120,106242,42485]
["23.05.2003","02:30:43",120,120,106243,42486]
["23.05.2003","02:31:13",120,0,106244,42486]
["23.05.2003","02:31:43",0,120,106244,42487]
["23.05.2003","02:32:13",120,120,106245,42488]
["23.05.2003","02:32:43",120,120,106246,42489]
["23.05.2003","02:33:13",120,120,106247,42490]
["23.05.2003","02:33:43",0,0,106247,42490]
["23.05.2003","02:34:13",120,120,106248,42491]
["23.05.2003","02:34:43",120,120,106249,42492]
["23.05.2003","02:35:13",120,120,106250,42493]
["23.05.2003","02:35:43",0,0,106250,42493]
["23.05.2003","02:36:13",120,120,106251,42494]
["23.05.2003","02:36:43",120,120,106252,42495]
["23.05.2003","02:37:13",120,120,106253,42496]
["23.05.2003","02:37:43",0,0,106253,42496]
["23.05.2003","02:38:13",120,120,106254,42497]
["23.05.2003","02:38:43",120,120,106255,42498]
["23.05.2003","02:39:13",0,120,106255,42499]
["23.05.2003","02:39:43",120,0,106256,42499]
["23.05.2003","02:40:13",120,120,106257,42500]
["23.05.2003","02:40:43",120,120,106258,42501]
["23.05.2003","02:41:13",0,120,106258,42502]
["23.05.2003","02:41:43",120,0,106259,42502]
["23.05.2003","02:42:13",120,120,106260,42503]
["23.05.2003","02:42:43",120,120,106261,42504]
["23.05.2003","02:43:13",0,120,106261,42505]
["23.05.2003","02:43:43",120,0,106262,42505]
["23.05.2003","02:44:13",120,120,106263,42506]
["23.05.2003","02:44:57",81.818,81.818,106264,42507]
["23.05.2003","02:45:27",120,120,106265,42508]
["23.05.2003","02:45:57",0,120,106265,42509]
["23.05.2003","02:46:27",120,120,106266,42510]
["23.05.2003","02:46:57",120,0,106267,42510]
["23.05.2003","02:47:27",120,120,106268,42511]
["23.05.2003","02:47:57",0,120,106268,42512]
["23.05.2003","02:48:27",120,120,106269,42513]
["23.05.2003","02:48:57",120,0,106270,42513]
["23.05.2003","02:49:27",120,120,106271,42514]
["23.05.2003","02:49:57",0,120,106271,42515]
["23.05.2003","02:50:27",120,120,106272,42516]
["23.05.2003","02:50:57",120,120,106273,42517]
["23.05.2003","02:51:27",120,0,106274,42517]
["23.05.2003","02:51:57",0,120,106274,42518]
["23.05.2003","02:52:27",120,120,106275,42519]
["23.05.2003","02:52:57",120,120,106276,42520]
["23.05.2003","02:53:27",120,0,106277,42520]
["23.05.2003","02:53:57",120,120,106278,42521]
["23.05.2003","02:54:27",0,120,106278,42522]
["23.05.2003","02:54:57",120,120,106279,42523]
["23.05.2003","02:55:27",120,0,106280,42523]
["23.05.2003","02:55:57",120,120,106281,42524]
["23.05.2003","02:56:27",0,120,106281,42525]
["23.05.2003","02:56:57",120,120,106282,42526]
["23.05.2003","02:57:27",120,0,106283,42526]
["23.05.2003","02:57:57",120,120,106284,42527]
["23.05.2003","02:58:27",120,120,106285,42528]
["23.05.2003","02:58:57",0,120,106285,42529]
["23.05.2003","02:59:27",120,0,106286,42529]
["23.05.2003","02:59:57",120,120,106287,42530]
["23.05.2003","03:00:27",120,120,106288,42531]
["23.05.2003","03:00:57",120,120,106289,42532]
["23.05.2003","03:01:27",120,0,106290,42532]
["23.05.2003","03:01:57",120,120,106291,42533]
["23.05.2003","03:02:27",120,120,106292,42534]
["23.05.2003","03:02:57",0,120,106292,42535]
["23.05.2003","03:03:27",120,120,106293,42536]
["23.05.2003","03:03:57",120,0,106294,42536]
["23.05.2003","03:04:27",120,120,106295,42537]
["23.05.2003","03:04:57",0,120,106295,42538]
["23.05.2003","03:05:27",120,120,106296,42539]
["23.05.2003","03:05:57",120,0,106297,42539]
["23.05.2003","03:06:27",120,120,106298,42540]
["23.05.2003","03:06:57",0,120,106298,42541]
["23.05.2003","03:07:27",120,120,106299,42542]
["23.05.2003","03:07:57",120,120,106300,42543]
["23.05.2003","03:08:27",120,0,106301,42543]
["23.05.2003","03:08:57",0,120,106301,42544]
["23.05.2003","03:09:27",120,120,106302,42545]
["23.05.2003","03:09:57",120,120,106303,42546]
["23.05.2003","03:10:27",0,0,106303,42546]
["23.05.2003","03:10:57",120,120,106304,42547]
["23.05.2003","03:11:27",120,120,106305,42548]
["23.05.2003","03:11:57",120,120,106306,42549]
["23.05.2003","03:12:27",0,0,106306,42549]
["23.05.2003","03:12:57",120,120,106307,42550]
["23.05.2003","03:13:27",120,120,106308,42551]
["23.05.2003","03:13:57",120,120,106309,42552]
["23.05.2003","03:14:27",0,0,106309,42552]
["23.05.2003","03:14:57",120,120,106310,42553]
["23.05.2003","03:15:27",120,120,106311,42554]
["23.05.2003","03:15:57",120,120,106312,42555]
["23.05.2003","03:16:27",0,0,106312,42555]
["23.05.2003","03:16:57",120,120,106313,42556]
["23.05.2003","03:17:27",120,120,106314,42557]
["23.05.2003","03:17:57",120,120,106315,42558]
["23.05.2003","03:18:27",0,0,106315,42558]
["23.05.2003","03:18:57",120,120,106316,42559]
["23.05.2003","03:19:27",120,120,106317,42560]
["23.05.2003","03:19:57",120,120,106318,42561]
["23.05.2003","03:20:27",0,0,106318,42561]
["23.05.2003","03:20:57",120,120,106319,42562]
["23.05.2003","03:21:27",120,120,106320,42563]
["23.05.2003","03:21:57",0,120,106320,42564]
["23.05.2003","03:22:27",120,120,106321,42565]
["23.05.2003","03:22:57",120,0,106322,42565]
["23.05.2003","03:23:27",120,120,106323,42566]
["23.05.2003","03:23:57",0,120,106323,42567]
["23.05.2003","03:24:27",120,120,106324,42568]
["23.05.2003","03:24:57",120,0,106325,42568]
["23.05.2003","03:25:27",120,120,106326,42569]
["23.05.2003","03:25:57",120,120,106327,42570]
["23.05.2003","03:26:27",120,120,106328,42571]
["23.05.2003","03:26:57",0,0,106328,42571]
["23.05.2003","03:27:27",120,120,106329,42572]
["23.05.2003","03:27:57",120,120,106330,42573]
["23.05.2003","03:28:27",120,120,106331,42574]
["23.05.2003","03:28:57",0,0,106331,42574]
["23.05.2003","03:29:27",120,120,106332,42575]
["23.05.2003","03:29:57",120,120,106333,42576]
["23.05.2003","03:30:27",120,120,106334,42577]
["23.05.2003","03:30:57",0,0,106334,42577]
["23.05.2003","03:31:27",120,120,106335,42578]
["23.05.2003","03:31:57",120,120,106336,42579]
["23.05.2003","03:32:27",120,120,106337,42580]
["23.05.2003","03:32:57",0,0,106337,42580]
["23.05.2003","03:33:27",120,120,106338,42581]
["23.05.2003","03:33:57",120,120,106339,42582]
["23.05.2003","03:34:27",0,120,106339,42583]
["23.05.2003","03:34:57",120,120,106340,42584]
["23.05.2003","03:35:27",120,0,106341,42584]
["23.05.2003","03:35:57",120,120,106342,42585]
["23.05.2003","03:36:27",0,120,106342,42586]
["23.05.2003","03:36:57",120,120,106343,42587]
["23.05.2003","03:37:27",120,0,106344,42587]
["23.05.2003","03:37:57",120,120,106345,42588]
["23.05.2003","03:38:27",0,120,106345,42589]
["23.05.2003","03:38:57",120,120,106346,42590]
["23.05.2003","03:39:27",120,0,106347,42590]
["23.05.2003","03:39:57",120,120,106348,42591]
["23.05.2003","03:40:27",0,120,106348,42592]
["23.05.2003","03:40:57",120,120,106349,42593]
["23.05.2003","03:41:27",120,0,106350,42593]
["23.05.2003","03:41:57",120,120,106351,42594]
["23.05.2003","03:42:27",0,120,106351,42595]
["23.05.2003","03:42:57",120,120,106352,42596]
["23.05.2003","03:43:27",120,0,106353,42596]
["23.05.2003","03:43:57",120,120,106354,42597]
["23.05.2003","03:44:27",0,120,106354,42598]
["23.05.2003","03:44:57",120,120,106355,42599]
["23.05.2003","03:45:27",120,0,106356,42599]
["23.05.2003","03:45:57",120,120,106357,42600]
["23.05.2003","03:46:27",0,120,106357,42601]
["23.05.2003","03:46:57",120,120,106358,42602]
["23.05.2003","03:47:27",120,0,106359,42602]
["23.05.2003","03:47:57",0,120,106359,42603]
["23.05.2003","03:48:27",120,120,106360,42604]
["23.05.2003","03:48:57",120,120,106361,42605]
["23.05.2003","03:49:27",120,120,106362,42606]
["23.05.2003","03:49:57",0,0,106362,42606]
["23.05.2003","03:50:27",120,120,106363,42607]
["23.05.2003","03:50:57",120,120,106364,42608]
["23.05.2003","03:51:27",120,120,106365,42609]
["23.05.2003","03:51:57",0,0,106365,42609]
["23.05.2003","03:52:27",120,120,106366,42610]
["23.05.2003","03:52:57",120,120,106367,42611]
["23.05.2003","03:53:27",120,120,106368,42612]
["23.05.2003","03:53:57",0,0,106368,42612]
["23.05.2003","03:54:27",120,120,106369,42613]
["23.05.2003","03:54:57",120,120,106370,42614]
["23.05.2003","03:55:27",120,120,106371,42615]
["23.05.2003","03:55:57",0,0,106371,42615]
["23.05.2003","03:56:27",120,120,106372,42616]
["23.05.2003","03:56:57",120,120,106373,42617]
["23.05.2003","03:57:27",120,120,106374,42618]
["23.05.2003","03:57:57",120,0,106375,42618]
["23.05.2003","03:58:27",120,120,106376,42619]
["23.05.2003","03:58:57",0,120,106376,42620]
["23.05.2003","03:59:27",120,120,106377,42621]
["23.05.2003","03:59:57",120,0,106378,42621]
["23.05.2003","04:00:27",120,120,106379,42622]
["23.05.2003","04:00:57",0,120,106379,42623]
["23.05.2003","04:01:27",120,120,106380,42624]
["23.05.2003","04:01:57",120,0,106381,42624]
["23.05.2003","04:02:27",120,120,106382,42625]
["23.05.2003","04:02:57",0,120,106382,42626]
["23.05.2003","04:03:27",120,120,106383,42627]
["23.05.2003","04:03:57",120,0,106384,42627]
["23.05.2003","04:04:27",120,120,106385,42628]
["23.05.2003","04:04:57",120,120,106386,42629]
["23.05.2003","04:05:27",120,120,106387,42630]
["23.05.2003","04:05:57",120,0,106388,42630]
["23.05.2003","04:06:27",120,120,106389,42631]
["23.05.2003","04:06:57",120,120,106390,42632]
["23.05.2003","04:07:27",0,120,106390,42633]
["23.05.2003","04:07:57",120,0,106391,42633]
["23.05.2003","04:08:27",120,120,106392,42634]
["23.05.2003","04:08:57",120,120,106393,42635]
["23.05.2003","04:09:27",120,120,106394,42636]
["23.05.2003","04:09:57",0,0,106394,42636]
["23.05.2003","04:10:27",120,120,106395,42637]
["23.05.2003","04:10:57",120,120,106396,42638]
["23.05.2003","04:11:27",120,120,106397,42639]
["23.05.2003","04:11:57",0,0,106397,42639]
["23.05.2003","04:12:27",120,120,106398,42640]
["23.05.2003","04:12:57",120,120,106399,42641]
["23.05.2003","04:13:27",0,120,106399,42642]
["23.05.2003","04:13:57",120,0,106400,42642]
["23.05.2003","04:14:27",120,120,106401,42643]
["23.05.2003","04:14:57",120,120,106402,42644]
["23.05.2003","04:15:27",0,120,106402,42645]
["23.05.2003","04:15:57",120,0,106403,42645]
["23.05.2003","04:16:27",120,120,106404,42646]
["23.05.2003","04:16:57",120,120,106405,42647]
["23.05.2003","04:17:27",0,120,106405,42648]
["23.05.2003","04:17:57",120,120,106406,42649]
["23.05.2003","04:18:27",120,0,106407,42649]
["23.05.2003","04:18:57",120,120,106408,42650]
["23.05.2003","04:19:27",0,120,106408,42651]
["23.05.2003","04:19:57",120,120,106409,42652]
["23.05.2003","04:20:27",120,0,106410,42652]
["23.05.2003","04:20:57",120,120,106411,42653]
["23.05.2003","04:21:27",0,120,106411,42654]
["23.05.2003","04:21:57",120,120,106412,42655]
["23.05.2003","04:22:27",120,120,106413,42656]
["23.05.2003","04:22:57",0,0,106413,42656]
["23.05.2003","04:23:27",120,120,106414,42657]
["23.05.2003","04:23:57",120,120,106415,42658]
["23.05.2003","04:24:27",120,120,106416,42659]
["23.05.2003","04:24:57",0,0,106416,42659]
["23.05.2003","04:25:27",120,120,106417,42660]
["23.05.2003","04:25:57",120,120,106418,42661]
["23.05.2003","04:26:27",0,120,106418,42662]
["23.05.2003","04:26:57",120,0,106419,42662]
["23.05.2003","04:27:27",120,120,106420,42663]
["23.05.2003","04:27:57",120,120,106421,42664]
["23.05.2003","04:28:27",0,120,106421,42665]
["23.05.2003","04:28:57",120,0,106422,42665]
["23.05.2003","04:29:27",120,120,106423,42666]
["23.05.2003","04:29:57",120,120,106424,42667]
["23.05.2003","04:30:27",0,120,106424,42668]
["23.05.2003","04:30:57",120,0,106425,42668]
["23.05.2003","04:31:27",120,120,106426,42669]
["23.05.2003","04:31:57",0,120,106426,42670]
["23.05.2003","04:32:27",120,120,106427,42671]
["23.05.2003","04:32:57",0,0,106427,42671]
["23.05.2003","04:33:27",120,120,106428,42672]
["23.05.2003","04:33:57",120,120,106429,42673]
["23.05.2003","04:34:27",120,120,106430,42674]
["23.05.2003","04:34:57",0,0,106430,42674]
["23.05.2003","04:35:27",120,120,106431,42675]
["23.05.2003","04:35:57",120,120,106432,42676]
["23.05.2003","04:36:27",0,120,106432,42677]
["23.05.2003","04:36:57",120,0,106433,42677]
["23.05.2003","04:37:27",120,120,106434,42678]
["23.05.2003","04:37:57",0,120,106434,42679]
["23.05.2003","04:38:27",120,120,106435,42680]
["23.05.2003","04:38:57",120,0,106436,42680]
["23.05.2003","04:39:27",120,120,106437,42681]
["23.05.2003","04:39:57",0,120,106437,42682]
["23.05.2003","04:40:27",120,0,106438,42682]
["23.05.2003","04:40:57",120,120,106439,42683]
["23.05.2003","04:41:27",120,120,106440,42684]
["23.05.2003","04:41:57",0,120,106440,42685]
["23.05.2003","04:42:27",120,0,106441,42685]
["23.05.2003","04:42:57",120,120,106442,42686]
["23.05.2003","04:43:27",0,120,106442,42687]
["23.05.2003","04:43:57",120,120,106443,42688]
["23.05.2003","04:44:27",120,0,106444,42688]
["23.05.2003","04:44:57",120,120,106445,42689]
["23.05.2003","04:45:27",0,120,106445,42690]
["23.05.2003","04:45:57",120,120,106446,42691]
["23.05.2003","04:46:27",120,0,106447,42691]
["23.05.2003","04:46:57",120,120,106448,42692]
["23.05.2003","04:47:27",0,120,106448,42693]
["23.05.2003","04:47:57",120,120,106449,42694]
["23.05.2003","04:48:27",120,0,106450,42694]
["23.05.2003","04:48:57",0,120,106450,42695]
["23.05.2003","04:49:27",120,120,106451,42696]
["23.05.2003","04:49:57",120,120,106452,42697]
["23.05.2003","04:50:27",0,0,106452,42697]
["23.05.2003","04:51:14",76.596,76.596,106453,42698]
["23.05.2003","04:51:44",120,120,106454,42699]
["23.05.2003","04:52:14",0,120,106454,42700]
["23.05.2003","04:52:44",120,120,106455,42701]
["23.05.2003","04:53:14",120,0,106456,42701]
["23.05.2003","04:53:44",0,120,106456,42702]
["23.05.2003","04:54:14",120,120,106457,42703]
["23.05.2003","04:54:44",120,120,106458,42704]
["23.05.2003","04:55:14",0,0,106458,42704]
["23.05.2003","04:55:44",120,120,106459,42705]
["23.05.2003","04:56:14",120,120,106460,42706]
["23.05.2003","04:56:44",0,120,106460,42707]
["23.05.2003","04:57:14",120,0,106461,42707]
["23.05.2003","04:57:44",120,120,106462,42708]
["23.05.2003","04:58:14",120,120,106463,42709]
["23.05.2003","04:58:44",0,120,106463,42710]
["23.05.2003","04:59:14",120,0,106464,42710]
["23.05.2003","04:59:44",120,120,106465,42711]
["23.05.2003","05:00:14",120,120,106466,42712]
["23.05.2003","05:00:44",0,0,106466,42712]
["23.05.2003","05:01:14",120,120,106467,42713]
["23.05.2003","05:01:44",120,120,106468,42714]
["23.05.2003","05:02:14",0,120,106468,42715]
["23.05.2003","05:02:44",120,120,106469,42716]
["23.05.2003","05:03:14",120,0,106470,42716]
["23.05.2003","05:03:44",0,120,106470,42717]
["23.05.2003","05:04:14",120,120,106471,42718]
["23.05.2003","05:04:44",120,120,106472,42719]
["23.05.2003","05:05:14",0,0,106472,42719]
["23.05.2003","05:05:44",120,120,106473,42720]
["23.05.2003","05:06:14",120,120,106474,42721]
["23.05.2003","05:06:44",0,120,106474,42722]
["23.05.2003","05:07:14",120,120,106475,42723]
["23.05.2003","05:07:44",120,0,106476,42723]
["23.05.2003","05:08:14",120,120,106477,42724]
["23.05.2003","05:08:44",0,120,106477,42725]
["23.05.2003","05:09:14",120,120,106478,42726]
["23.05.2003","05:09:44",120,120,106479,42727]
["23.05.2003","05:10:14",120,0,106480,42727]
["23.05.2003","05:10:44",120,120,106481,42728]
["23.05.2003","05:11:14",0,120,106481,42729]
["23.05.2003","05:11:44",120,120,106482,42730]
["23.05.2003","05:12:14",120,0,106483,42730]
["23.05.2003","05:12:44",120,120,106484,42731]
["23.05.2003","05:13:14",120,120,106485,42732]
["23.05.2003","05:13:44",0,120,106485,42733]
["23.05.2003","05:14:14",120,120,106486,42734]
["23.05.2003","05:14:44",120,0,106487,42734]
["23.05.2003","05:15:14",0,120,106487,42735]
["23.05.2003","05:15:44",120,120,106488,42736]
["23.05.2003","05:16:14",120,120,106489,42737]
["23.05.2003","05:16:44",120,120,106490,42738]
["23.05.2003","05:17:14",120,0,106491,42738]
["23.05.2003","05:17:44",120,120,106492,42739]
["23.05.2003","05:18:14",120,120,106493,42740]
["23.05.2003","05:18:44",120,120,106494,42741]
["23.05.2003","05:19:14",120,120,106495,42742]
["23.05.2003","05:19:44",120,120,106496,42743]
["23.05.2003","05:20:14",120,120,106497,42744]
["23.05.2003","05:20:44",120,0,106498,42744]
["23.05.2003","05:21:14",120,120,106499,42745]
["23.05.2003","05:21:44",120,120,106500,42746]
["23.05.2003","05:22:14",120,120,106501,42747]
["23.05.2003","05:22:44",120,120,106502,42748]
["23.05.2003","05:23:14",120,120,106503,42749]
["23.05.2003","05:23:44",240,120,106505,42750]
["23.05.2003","05:24:14",120,0,106506,42750]
["23.05.2003","05:24:44",120,120,106507,42751]
["23.05.2003","05:25:14",120,120,106508,42752]
["23.05.2003","05:25:44",120,120,106509,42753]
["23.05.2003","05:26:14",120,120,106510,42754]
["23.05.2003","05:26:44",120,120,106511,42755]
["23.05.2003","05:27:14",120,120,106512,42756]
["23.05.2003","05:27:44",120,120,106513,42757]
["23.05.2003","05:28:14",120,0,106514,42757]
["23.05.2003","05:28:44",120,120,106515,42758]
["23.05.2003","05:29:14",120,120,106516,42759]
["23.05.2003","05:29:44",120,120,106517,42760]
["23.05.2003","05:30:14",240,120,106519,42761]
["23.05.2003","05:30:44",120,120,106520,42762]
["23.05.2003","05:31:14",120,120,106521,42763]
["23.05.2003","05:31:44",120,120,106522,42764]
["23.05.2003","05:32:14",120,120,106523,42765]
["23.05.2003","05:32:44",120,0,106524,42765]
["23.05.2003","05:33:14",240,120,106526,42766]
["23.05.2003","05:33:44",120,120,106527,42767]
["23.05.2003","05:34:14",120,120,106528,42768]
["23.05.2003","05:34:44",120,120,106529,42769]
["23.05.2003","05:35:14",120,120,106530,42770]
["23.05.2003","05:35:44",120,120,106531,42771]
["23.05.2003","05:36:14",120,120,106532,42772]
["23.05.2003","05:36:44",120,0,106533,42772]
["23.05.2003","05:37:14",120,120,106534,42773]
["23.05.2003","05:37:44",120,120,106535,42774]
["23.05.2003","05:38:14",120,120,106536,42775]
["23.05.2003","05:38:44",120,120,106537,42776]
["23.05.2003","05:39:14",120,120,106538,42777]
["23.05.2003","05:39:44",120,120,106539,42778]
["23.05.2003","05:40:14",120,0,106540,42778]
["23.05.2003","05:40:44",120,120,106541,42779]
["23.05.2003","05:41:14",120,120,106542,42780]
["23.05.2003","05:41:44",120,120,106543,42781]
["23.05.2003","05:42:14",120,120,106544,42782]
["23.05.2003","05:42:44",120,120,106545,42783]
["23.05.2003","05:43:14",240,120,106547,42784]
["23.05.2003","05:43:44",120,0,106548,42784]
["23.05.2003","05:44:14",120,120,106549,42785]
["23.05.2003","05:44:44",120,120,106550,42786]
["23.05.2003","05:45:14",120,120,106551,42787]
["23.05.2003","05:45:44",120,120,106552,42788]
["23.05.2003","05:46:14",120,120,106553,42789]
["23.05.2003","05:46:44",120,120,106554,42790]
["23.05.2003","05:47:14",120,120,106555,42791]
["23.05.2003","05:47:44",120,0,106556,42791]
["23.05.2003","05:48:14",120,120,106557,42792]
["23.05.2003","05:48:44",120,120,106558,42793]
["23.05.2003","05:49:14",120,120,106559,42794]
["23.05.2003","05:49:44",120,120,106560,42795]
["23.05.2003","05:50:14",120,120,106561,42796]
["23.05.2003","05:50:44",240,120,106563,42797]
["23.05.2003","05:51:14",120,0,106564,42797]
["23.05.2003","05:51:44",120,120,106565,42798]
["23.05.2003","05:52:14",120,120,106566,42799]
["23.05.2003","05:52:44",120,120,106567,42800]
["23.05.2003","05:53:14",120,120,106568,42801]
["23.05.2003","05:53:44",120,120,106569,42802]
["23.05.2003","05:54:14",120,120,106570,42803]
["23.05.2003","05:54:44",120,120,106571,42804]
["23.05.2003","05:55:14",120,0,106572,42804]
["23.05.2003","05:55:44",120,120,106573,42805]
["23.05.2003","05:56:14",120,120,106574,42806]
["23.05.2003","05:56:44",120,120,106575,42807]
["23.05.2003","05:57:14",240,120,106577,42808]
["23.05.2003","05:57:44",120,120,106578,42809]
["23.05.2003","05:58:14",240,120,106580,42810]
["23.05.2003","05:58:44",120,120,106581,42811]
["23.05.2003","05:59:14",240,120,106583,42812]
["23.05.2003","05:59:44",120,120,106584,42813]
["23.05.2003","06:00:14",120,120,106585,42814]
["23.05.2003","06:00:44",240,120,106587,42815]
["23.05.2003","06:01:14",120,120,106588,42816]
["23.05.2003","06:01:44",240,120,106590,42817]
["23.05.2003","06:02:14",240,120,106592,42818]
["23.05.2003","06:02:44",120,120,106593,42819]
["23.05.2003","06:03:14",240,120,106595,42820]
["23.05.2003","06:03:44",120,120,106596,42821]
["23.05.2003","06:04:14",120,120,106597,42822]
["23.05.2003","06:04:44",240,120,106599,42823]
["23.05.2003","06:05:14",120,120,106600,42824]
["23.05.2003","06:05:44",240,0,106602,42824]
["23.05.2003","06:06:14",120,120,106603,42825]
["23.05.2003","06:06:44",240,120,106605,42826]
["23.05.2003","06:07:14",120,120,106606,42827]
["23.05.2003","06:07:44",120,120,106607,42828]
["23.05.2003","06:08:14",240,120,106609,42829]
["23.05.2003","06:08:44",120,120,106610,42830]
["23.05.2003","06:09:14",240,120,106612,42831]
["23.05.2003","06:09:44",120,120,106613,42832]
["23.05.2003","06:10:14",240,120,106615,42833]
["23.05.2003","06:10:44",120,120,106616,42834]
["23.05.2003","06:11:14",120,120,106617,42835]
["23.05.2003","06:11:44",240,120,106619,42836]
["23.05.2003","06:12:14",120,120,106620,42837]
["23.05.2003","06:12:44",240,120,106622,42838]
["23.05.2003","06:13:14",240,120,106624,42839]
["23.05.2003","06:13:44",120,120,106625,42840]
["23.05.2003","06:14:14",240,120,106627,42841]
["23.05.2003","06:14:44",120,120,106628,42842]
["23.05.2003","06:15:14",240,0,106630,42842]
["23.05.2003","06:15:44",120,120,106631,42843]
["23.05.2003","06:16:14",240,120,106633,42844]
["23.05.2003","06:16:44",240,120,106635,42845]
["23.05.2003","06:17:14",120,120,106636,42846]
["23.05.2003","06:17:44",120,120,106637,42847]
["23.05.2003","06:18:14",240,120,106639,42848]
["23.05.2003","06:18:44",120,120,106640,42849]
["23.05.2003","06:19:14",240,120,106642,42850]
["23.05.2003","06:19:44",120,120,106643,42851]
["23.05.2003","06:20:14",240,120,106645,42852]
["23.05.2003","06:20:44",120,0,106646,42852]
["23.05.2003","06:21:14",240,120,106648,42853]
["23.05.2003","06:21:44",120,120,106649,42854]
["23.05.2003","06:22:14",240,120,106651,42855]
["23.05.2003","06:22:44",120,0,106652,42855]
["23.05.2003","06:23:14",120,120,106653,42856]
["23.05.2003","06:23:44",240,120,106655,42857]
["23.05.2003","06:24:14",120,120,106656,42858]
["23.05.2003","06:24:44",240,0,106658,42858]
["23.05.2003","06:25:14",120,120,106659,42859]
["23.05.2003","06:25:44",240,120,106661,42860]
["23.05.2003","06:26:14",120,120,106662,42861]
["23.05.2003","06:26:44",240,120,106664,42862]
["23.05.2003","06:27:14",120,0,106665,42862]
["23.05.2003","06:27:44",240,120,106667,42863]
["23.05.2003","06:28:14",120,120,106668,42864]
["23.05.2003","06:28:44",240,120,106670,42865]
["23.05.2003","06:29:14",240,120,106672,42866]
["23.05.2003","06:29:44",240,120,106674,42867]
["23.05.2003","06:30:14",240,120,106676,42868]
["23.05.2003","06:30:44",120,120,106677,42869]
["23.05.2003","06:31:14",240,120,106679,42870]
["23.05.2003","06:31:44",240,120,106681,42871]
["23.05.2003","06:32:14",240,120,106683,42872]
["23.05.2003","06:32:44",240,120,106685,42873]
["23.05.2003","06:33:14",240,120,106687,42874]
["23.05.2003","06:33:44",240,120,106689,42875]
["23.05.2003","06:34:14",120,120,106690,42876]
["23.05.2003","06:34:44",240,240,106692,42878]
["23.05.2003","06:35:14",240,120,106694,42879]
["23.05.2003","06:35:44",240,120,106696,42880]
["23.05.2003","06:36:14",240,120,106698,42881]
["23.05.2003","06:36:44",120,120,106699,42882]
["23.05.2003","06:37:14",240,120,106701,42883]
["23.05.2003","06:37:44",240,120,106703,42884]
["23.05.2003","06:38:14",240,120,106705,42885]
["23.05.2003","06:38:44",240,120,106707,42886]
["23.05.2003","06:39:14",240,120,106709,42887]
["23.05.2003","06:39:44",240,120,106711,42888]
["23.05.2003","06:40:14",240,120,106713,42889]
["23.05.2003","06:40:44",240,240,106715,42891]
["23.05.2003","06:41:14",240,120,106717,42892]
["23.05.2003","06:41:44",120,120,106718,42893]
["23.05.2003","06:42:14",240,120,106720,42894]
["23.05.2003","06:42:44",240,120,106722,42895]
["23.05.2003","06:43:14",240,120,106724,42896]
["23.05.2003","06:43:44",240,120,106726,42897]
["23.05.2003","06:44:14",240,120,106728,42898]
["23.05.2003","06:44:44",240,240,106730,42900]
["23.05.2003","06:45:14",240,120,106732,42901]
["23.05.2003","06:45:44",240,120,106734,42902]
["23.05.2003","06:46:14",360,120,106737,42903]
["23.05.2003","06:46:44",360,120,106740,42904]
["23.05.2003","06:47:14",240,120,106742,42905]
["23.05.2003","06:47:44",360,240,106745,42907]
["23.05.2003","06:48:14",240,120,106747,42908]
["23.05.2003","06:48:44",360,120,106750,42909]
["23.05.2003","06:49:14",360,120,106753,42910]
["23.05.2003","06:49:44",240,120,106755,42911]
["23.05.2003","06:50:14",360,240,106758,42913]
["23.05.2003","06:50:44",360,120,106761,42914]
["23.05.2003","06:51:14",240,120,106763,42915]
["23.05.2003","06:51:44",480,360,106767,42918]
["23.05.2003","06:52:14",480,240,106771,42920]
["23.05.2003","06:52:44",480,360,106775,42923]
["23.05.2003","06:53:14",480,240,106779,42925]
["23.05.2003","06:53:44",360,120,106782,42926]
["23.05.2003","06:54:14",240,240,106784,42928]
["23.05.2003","06:54:44",360,120,106787,42929]
["23.05.2003","06:55:14",360,120,106790,42930]
["23.05.2003","06:55:44",360,120,106793,42931]
["23.05.2003","06:56:14",360,120,106796,42932]
["23.05.2003","06:56:44",360,120,106799,42933]
["23.05.2003","06:57:40",321.429,192.857,106804,42936]
["23.05.2003","06:58:10",360,120,106807,42937]
["23.05.2003","06:58:40",360,120,106810,42938]
["23.05.2003","06:59:10",360,120,106813,42939]
["23.05.2003","06:59:40",240,120,106815,42940]
["23.05.2003","07:00:10",360,120,106818,42941]
["23.05.2003","07:00:40",360,240,106821,42943]
["23.05.2003","07:01:10",360,120,106824,42944]
["23.05.2003","07:01:40",360,120,106827,42945]
["23.05.2003","07:02:10",360,120,106830,42946]
["23.05.2003","07:02:40",360,120,106833,42947]
["23.05.2003","07:03:10",480,240,106837,42949]
["23.05.2003","07:03:40",480,120,106841,42950]
["23.05.2003","07:04:10",360,120,106844,42951]
["23.05.2003","07:04:40",360,120,106847,42952]
["23.05.2003","07:05:10",360,240,106850,42954]
["23.05.2003","07:05:40",360,120,106853,42955]
["23.05.2003","07:06:10",360,120,106856,42956]
["23.05.2003","07:06:40",360,120,106859,42957]
["23.05.2003","07:07:10",240,0,106861,42957]
["23.05.2003","07:07:40",360,0,106864,42957]
["23.05.2003","07:08:10",240,0,106866,42957]
["23.05.2003","07:08:40",360,0,106869,42957]
["23.05.2003","07:09:10",240,120,106871,42958]
["23.05.2003","07:09:40",360,120,106874,42959]
["23.05.2003","07:10:10",240,0,106876,42959]
["23.05.2003","07:10:40",360,240,106879,42961]
["23.05.2003","07:11:10",240,120,106881,42962]
["23.05.2003","07:11:40",360,120,106884,42963]
["23.05.2003","07:12:10",240,120,106886,42964]
["23.05.2003","07:12:40",360,120,106889,42965]
["23.05.2003","07:13:10",240,120,106891,42966]
["23.05.2003","07:13:40",360,120,106894,42967]
["23.05.2003","07:14:10",240,120,106896,42968]
["23.05.2003","07:14:40",360,240,106899,42970]
["23.05.2003","07:15:10",360,120,106902,42971]
["23.05.2003","07:15:40",480,240,106906,42973]
["23.05.2003","07:16:10",600,240,106911,42975]
["23.05.2003","07:16:40",480,240,106915,42977]
["23.05.2003","07:17:10",480,240,106919,42979]
["23.05.2003","07:17:40",480,120,106923,42980]
["23.05.2003","07:18:10",480,240,106927,42982]
["23.05.2003","07:18:40",480,120,106931,42983]
["23.05.2003","07:19:10",480,240,106935,42985]
["23.05.2003","07:19:40",600,120,106940,42986]
["23.05.2003","07:20:10",600,240,106945,42988]
["23.05.2003","07:20:40",600,240,106950,42990]
["23.05.2003","07:21:10",480,120,106954,42991]
["23.05.2003","07:21:40",480,240,106958,42993]
["23.05.2003","07:22:10",600,240,106963,42995]
["23.05.2003","07:22:40",720,240,106969,42997]
["23.05.2003","07:23:10",720,360,106975,43000]
["23.05.2003","07:23:40",720,240,106981,43002]
["23.05.2003","07:24:10",600,360,106986,43005]
["23.05.2003","07:24:40",600,240,106991,43007]
["23.05.2003","07:25:10",840,480,106998,43011]
["23.05.2003","07:25:40",840,480,107005,43015]
["23.05.2003","07:26:10",720,240,107011,43017]
["23.05.2003","07:26:40",600,360,107016,43020]
["23.05.2003","07:27:10",840,360,107023,43023]
["23.05.2003","07:27:40",720,480,107029,43027]
["23.05.2003","07:28:10",840,360,107036,43030]
["23.05.2003","07:28:40",720,240,107042,43032]
["23.05.2003","07:29:10",840,360,107049,43035]
["23.05.2003","07:29:40",720,360,107055,43038]
["23.05.2003","07:30:10",720,240,107061,43040]
["23.05.2003","07:30:40",840,240,107068,43042]
["23.05.2003","07:31:10",840,360,107075,43045]
["23.05.2003","07:31:40",840,240,107082,43047]
["23.05.2003","07:32:10",840,360,107089,43050]
["23.05.2003","07:32:40",840,240,107096,43052]
["23.05.2003","07:33:10",720,360,107102,43055]
["23.05.2003","07:33:40",720,240,107108,43057]
["23.05.2003","07:34:10",720,240,107114,43059]
["23.05.2003","07:34:40",840,360,107121,43062]
["23.05.2003","07:35:10",840,240,107128,43064]
["23.05.2003","07:35:40",600,240,107133,43066]
["23.05.2003","07:36:10",600,240,107138,43068]
["23.05.2003","07:36:40",480,240,107142,43070]
["23.05.2003","07:37:10",720,240,107148,43072]
["23.05.2003","07:37:40",600,240,107153,43074]
["23.05.2003","07:38:10",600,240,107158,43076]
["23.05.2003","07:38:40",600,240,107163,43078]
["23.05.2003","07:39:10",600,240,107168,43080]
["23.05.2003","07:39:40",480,240,107172,43082]
["23.05.2003","07:40:10",480,240,107176,43084]
["23.05.2003","07:40:40",600,240,107181,43086]
["23.05.2003","07:41:10",720,240,107187,43088]
["23.05.2003","07:41:40",480,240,107191,43090]
["23.05.2003","07:42:10",600,240,107196,43092]
["23.05.2003","07:42:40",600,360,107201,43095]
["23.05.2003","07:43:10",1320,480,107212,43099]
["23.05.2003","07:43:40",1560,480,107225,43103]
["23.05.2003","07:44:10",1680,480,107239,43107]
["23.05.2003","07:44:40",1680,600,107253,43112]
["23.05.2003","07:45:10",1560,480,107266,43116]
["23.05.2003","07:45:40",1560,480,107279,43120]
["23.05.2003","07:46:10",1680,480,107293,43124]
["23.05.2003","07:46:40",1560,480,107306,43128]
["23.05.2003","07:47:10",1680,360,107320,43131]
["23.05.2003","07:47:40",1560,480,107333,43135]
["23.05.2003","07:48:10",1440,480,107345,43139]
["23.05.2003","07:48:40",1560,480,107358,43143]
["23.05.2003","07:49:10",1680,480,107372,43147]
["23.05.2003","07:49:40",1560,480,107385,43151]
["23.05.2003","07:50:10",1560,480,107398,43155]
["23.05.2003","07:50:40",1560,480,107411,43159]
["23.05.2003","07:51:10",1440,480,107423,43163]
["23.05.2003","07:51:40",1560,600,107436,43168]
["23.05.2003","07:52:10",1560,360,107449,43171]
["23.05.2003","07:52:40",1680,480,107463,43175]
["23.05.2003","07:53:10",1560,480,107476,43179]
["23.05.2003","07:53:40",1440,480,107488,43183]
["23.05.2003","07:54:10",1560,480,107501,43187]
["23.05.2003","07:54:40",1680,600,107515,43192]
["23.05.2003","07:55:10",1560,600,107528,43197]
["23.05.2003","07:55:40",1680,480,107542,43201]
["23.05.2003","07:56:10",1440,600,107554,43206]
["23.05.2003","07:56:40",1560,480,107567,43210]
["23.05.2003","07:57:10",1680,480,107581,43214]
["23.05.2003","07:57:40",1680,480,107595,43218]
["23.05.2003","07:58:10",1560,480,107608,43222]
["23.05.2003","07:58:40",840,360,107615,43225]
["23.05.2003","07:59:10",600,240,107620,43227]
["23.05.2003","07:59:40",720,240,107626,43229]
["23.05.2003","08:00:10",840,240,107633,43231]
["23.05.2003","08:00:40",720,360,107639,43234]
["23.05.2003","08:01:10",600,240,107644,43236]
["23.05.2003","08:01:40",720,240,107650,43238]
["23.05.2003","08:02:10",840,240,107657,43240]
["23.05.2003","08:02:40",600,360,107662,43243]
["23.05.2003","08:03:10",600,240,107667,43245]
["23.05.2003","08:03:40",1080,360,107676,43248]
["23.05.2003","08:04:10",1560,360,107689,43251]
["23.05.2003","08:04:40",1560,480,107702,43255]
["23.05.2003","08:05:10",1560,480,107715,43259]
["23.05.2003","08:05:40",1560,360,107728,43262]
["23.05.2003","08:06:10",1320,480,107739,43266]
["23.05.2003","08:06:40",720,240,107745,43268]
["23.05.2003","08:07:10",480,240,107749,43270]
["23.05.2003","08:07:40",480,240,107753,43272]
["23.05.2003","08:08:10",720,240,107759,43274]
["23.05.2003","08:08:40",720,240,107765,43276]
["23.05.2003","08:09:10",600,240,107770,43278]
["23.05.2003","08:09:40",720,360,107776,43281]
["23.05.2003","08:10:10",600,240,107781,43283]
["23.05.2003","08:10:40",600,240,107786,43285]
["23.05.2003","08:11:10",720,240,107792,43287]
["23.05.2003","08:11:40",720,360,107798,43290]
["23.05.2003","08:12:10",720,240,107804,43292]
["23.05.2003","08:12:40",600,240,107809,43294]
["23.05.2003","08:13:10",720,240,107815,43296]
["23.05.2003","08:13:40",720,360,107821,43299]
["23.05.2003","08:14:10",720,240,107827,43301]
["23.05.2003","08:14:40",600,240,107832,43303]
["23.05.2003","08:15:10",600,240,107837,43305]
["23.05.2003","08:15:40",720,360,107843,43308]
["23.05.2003","08:16:10",720,240,107849,43310]
["23.05.2003","08:16:40",600,240,107854,43312]
["23.05.2003","08:17:10",720,360,107860,43315]
["23.05.2003","08:17:40",840,240,107867,43317]
["23.05.2003","08:18:10",600,240,107872,43319]
["23.05.2003","08:18:40",600,240,107877,43321]
["23.05.2003","08:19:10",720,360,107883,43324]
["23.05.2003","08:19:40",720,240,107889,43326]
["23.05.2003","08:20:10",720,240,107895,43328]
["23.05.2003","08:20:40",600,240,107900,43330]
["23.05.2003","08:21:10",720,360,107906,43333]
["23.05.2003","08:21:40",720,240,107912,43335]
["23.05.2003","08:22:10",720,240,107918,43337]
["23.05.2003","08:22:40",720,360,107924,43340]
["23.05.2003","08:23:10",600,240,107929,43342]
["23.05.2003","08:23:40",600,240,107934,43344]
["23.05.2003","08:24:10",720,240,107940,43346]
["23.05.2003","08:24:40",600,240,107945,43348]
["23.05.2003","08:25:10",720,240,107951,43350]
["23.05.2003","08:25:40",720,240,107957,43352]
["23.05.2003","08:26:10",600,240,107962,43354]
["23.05.2003","08:26:40",600,240,107967,43356]
["23.05.2003","08:27:10",720,360,107973,43359]
["23.05.2003","08:27:40",720,240,107979,43361]
["23.05.2003","08:28:10",720,240,107985,43363]
["23.05.2003","08:28:40",600,360,107990,43366]
["23.05.2003","08:29:10",720,240,107996,43368]
["23.05.2003","08:29:40",720,360,108002,43371]
["23.05.2003","08:30:10",720,240,108008,43373]
["23.05.2003","08:30:40",720,360,108014,43376]
["23.05.2003","08:31:10",600,360,108019,43379]
["23.05.2003","08:31:40",720,240,108025,43381]
["23.05.2003","08:32:10",600,240,108030,43383]
["23.05.2003","08:32:40",600,240,108035,43385]
["23.05.2003","08:33:10",720,240,108041,43387]
["23.05.2003","08:33:40",720,240,108047,43389]
["23.05.2003","08:34:10",600,360,108052,43392]
["23.05.2003","08:34:40",480,240,108056,43394]
["23.05.2003","08:35:10",720,360,108062,43397]
["23.05.2003","08:35:40",720,240,108068,43399]
["23.05.2003","08:36:10",600,240,108073,43401]
["23.05.2003","08:36:40",600,360,108078,43404]
["23.05.2003","08:37:10",600,240,108083,43406]
["23.05.2003","08:37:40",720,240,108089,43408]
["23.05.2003","08:38:10",720,240,108095,43410]
["23.05.2003","08:38:40",600,240,108100,43412]
["23.05.2003","08:39:10",600,240,108105,43414]
["23.05.2003","08:39:40",600,360,108110,43417]
["23.05.2003","08:40:10",720,240,108116,43419]
["23.05.2003","08:40:40",600,360,108121,43422]
["23.05.2003","08:41:10",600,240,108126,43424]
["23.05.2003","08:41:40",600,360,108131,43427]
["23.05.2003","08:42:10",600,240,108136,43429]
["23.05.2003","08:42:40",720,360,108142,43432]
["23.05.2003","08:43:10",600,240,108147,43434]
["23.05.2003","08:43:40",480,120,108151,43435]
["23.05.2003","08:44:10",600,360,108156,43438]
["23.05.2003","08:44:40",480,240,108160,43440]
["23.05.2003","08:45:10",600,240,108165,43442]
["23.05.2003","08:45:40",600,240,108170,43444]
["23.05.2003","08:46:10",480,120,108174,43445]
["23.05.2003","08:46:40",600,360,108179,43448]
["23.05.2003","08:47:10",600,240,108184,43450]
["23.05.2003","08:47:40",600,240,108189,43452]
["23.05.2003","08:48:10",600,240,108194,43454]
["23.05.2003","08:48:40",480,240,108198,43456]
["23.05.2003","08:49:10",600,120,108203,43457]
["23.05.2003","08:49:40",480,240,108207,43459]
["23.05.2003","08:50:10",480,360,108211,43462]
["23.05.2003","08:50:40",600,240,108216,43464]
["23.05.2003","08:51:10",600,240,108221,43466]
["23.05.2003","08:51:40",600,240,108226,43468]
["23.05.2003","08:52:10",600,360,108231,43471]
["23.05.2003","08:52:40",480,240,108235,43473]
["23.05.2003","08:53:10",480,240,108239,43475]
["23.05.2003","08:53:40",480,120,108243,43476]
["23.05.2003","08:54:10",600,240,108248,43478]
["23.05.2003","08:54:40",480,360,108252,43481]
["23.05.2003","08:55:10",480,240,108256,43483]
["23.05.2003","08:55:40",600,240,108261,43485]
["23.05.2003","08:56:10",600,360,108266,43488]
["23.05.2003","08:56:40",600,240,108271,43490]
["23.05.2003","08:57:10",600,240,108276,43492]
["23.05.2003","08:57:40",480,240,108280,43494]
["23.05.2003","08:58:10",480,240,108284,43496]
["23.05.2003","08:58:40",480,240,108288,43498]
["23.05.2003","08:59:10",600,240,108293,43500]
["23.05.2003","08:59:40",480,240,108297,43502]
["23.05.2003","09:00:10",480,240,108301,43504]
["23.05.2003","09:00:40",720,240,108307,43506]
["23.05.2003","09:01:10",600,240,108312,43508]
["23.05.2003","09:01:40",480,240,108316,43510]
["23.05.2003","09:02:10",480,240,108320,43512]
["23.05.2003","09:02:40",600,240,108325,43514]
["23.05.2003","09:03:10",600,240,108330,43516]
["23.05.2003","09:03:40",720,240,108336,43518]
["23.05.2003","09:04:10",600,240,108341,43520]
["23.05.2003","09:04:40",600,120,108346,43521]
["23.05.2003","09:05:10",1080,360,108355,43524]
["23.05.2003","09:05:40",1560,480,108368,43528]
["23.05.2003","09:06:10",1560,480,108381,43532]
["23.05.2003","09:06:40",1560,360,108394,43535]
["23.05.2003","09:07:10",1440,480,108406,43539]
["23.05.2003","09:07:40",1440,480,108418,43543]
["23.05.2003","09:08:10",1680,360,108432,43546]
["23.05.2003","09:08:40",1560,480,108445,43550]
["23.05.2003","09:09:10",1560,480,108458,43554]
["23.05.2003","09:09:40",600,240,108463,43556]
["23.05.2003","09:10:10",480,240,108467,43558]
["23.05.2003","09:10:40",480,240,108471,43560]
["23.05.2003","09:11:10",720,360,108477,43563]
["23.05.2003","09:11:40",720,240,108483,43565]
["23.05.2003","09:12:10",720,240,108489,43567]
["23.05.2003","09:12:40",600,240,108494,43569]
["23.05.2003","09:13:10",600,360,108499,43572]
["23.05.2003","09:13:40",840,240,108506,43574]
["23.05.2003","09:14:10",720,240,108512,43576]
["23.05.2003","09:14:40",720,240,108518,43578]
["23.05.2003","09:15:10",600,360,108523,43581]
["23.05.2003","09:15:40",600,240,108528,43583]
["23.05.2003","09:16:10",720,240,108534,43585]
["23.05.2003","09:16:40",840,360,108541,43588]
["23.05.2003","09:17:10",720,240,108547,43590]
["23.05.2003","09:17:40",720,240,108553,43592]
["23.05.2003","09:18:10",600,240,108558,43594]
["23.05.2003","09:18:40",720,240,108564,43596]
["23.05.2003","09:19:10",720,240,108570,43598]
["23.05.2003","09:19:40",720,360,108576,43601]
["23.05.2003","09:20:10",720,240,108582,43603]
["23.05.2003","09:20:40",720,240,108588,43605]
["23.05.2003","09:21:10",720,360,108594,43608]
["23.05.2003","09:21:40",600,240,108599,43610]
["23.05.2003","09:22:10",600,240,108604,43612]
["23.05.2003","09:22:40",720,240,108610,43614]
["23.05.2003","09:23:10",720,360,108616,43617]
["23.05.2003","09:23:40",720,240,108622,43619]
["23.05.2003","09:24:10",600,240,108627,43621]
["23.05.2003","09:24:40",600,240,108632,43623]
["23.05.2003","09:25:10",600,240,108637,43625]
["23.05.2003","09:25:40",600,240,108642,43627]
["23.05.2003","09:26:10",600,240,108647,43629]
["23.05.2003","09:26:40",720,240,108653,43631]
["23.05.2003","09:27:10",720,240,108659,43633]
["23.05.2003","09:27:40",600,120,108664,43634]
["23.05.2003","09:28:10",480,240,108668,43636]
["23.05.2003","09:28:40",600,240,108673,43638]
["23.05.2003","09:29:10",840,240,108680,43640]
["23.05.2003","09:29:40",840,240,108687,43642]
["23.05.2003","09:30:10",480,240,108691,43644]
["23.05.2003","09:30:40",600,240,108696,43646]
["23.05.2003","09:31:10",480,240,108700,43648]
["23.05.2003","09:31:40",480,240,108704,43650]
["23.05.2003","09:32:10",600,240,108709,43652]
["23.05.2003","09:32:40",600,240,108714,43654]
["23.05.2003","09:33:10",600,240,108719,43656]
["23.05.2003","09:33:40",600,240,108724,43658]
["23.05.2003","09:34:10",480,240,108728,43660]
["23.05.2003","09:34:40",480,240,108732,43662]
["23.05.2003","09:35:10",600,240,108737,43664]
["23.05.2003","09:35:40",600,240,108742,43666]
["23.05.2003","09:36:10",600,240,108747,43668]
["23.05.2003","09:36:40",600,240,108752,43670]
["23.05.2003","09:37:10",600,240,108757,43672]
["23.05.2003","09:37:40",480,240,108761,43674]
["23.05.2003","09:38:10",480,240,108765,43676]
["23.05.2003","09:38:40",600,240,108770,43678]
["23.05.2003","09:39:10",720,240,108776,43680]
["23.05.2003","09:39:40",480,240,108780,43682]
["23.05.2003","09:40:10",480,120,108784,43683]
["23.05.2003","09:40:40",600,240,108789,43685]
["23.05.2003","09:41:10",720,360,108795,43688]
["23.05.2003","09:41:40",600,240,108800,43690]
["23.05.2003","09:42:10",720,240,108806,43692]
["23.05.2003","09:42:40",600,240,108811,43694]
["23.05.2003","09:43:10",600,240,108816,43696]
["23.05.2003","09:43:40",480,240,108820,43698]
["23.05.2003","09:44:10",600,240,108825,43700]
["23.05.2003","09:44:40",840,360,108832,43703]
["23.05.2003","09:45:10",1440,360,108844,43706]
["23.05.2003","09:45:40",1440,480,108856,43710]
["23.05.2003","09:46:10",1440,480,108868,43714]
["23.05.2003","09:46:40",1440,360,108880,43717]
["23.05.2003","09:47:10",1320,480,108891,43721]
["23.05.2003","09:47:40",1440,360,108903,43724]
["23.05.2003","09:48:10",1440,480,108915,43728]
["23.05.2003","09:48:40",1560,480,108928,43732]
["23.05.2003","09:49:10",1320,360,108939,43735]
["23.05.2003","09:49:40",1440,480,108951,43739]
["23.05.2003","09:50:10",1320,360,108962,43742]
["23.05.2003","09:50:40",1560,480,108975,43746]
["23.05.2003","09:51:10",1680,480,108989,43750]
["23.05.2003","09:51:40",1560,480,109002,43754]
["23.05.2003","09:52:10",1440,480,109014,43758]
["23.05.2003","09:52:40",1560,480,109027,43762]
["23.05.2003","09:53:10",1440,480,109039,43766]
["23.05.2003","09:53:40",1440,360,109051,43769]
["23.05.2003","09:54:10",1560,480,109064,43773]
["23.05.2003","09:54:40",1560,480,109077,43777]
["23.05.2003","09:55:10",1560,480,109090,43781]
["23.05.2003","09:55:40",1440,480,109102,43785]
["23.05.2003","09:56:10",1560,480,109115,43789]
["23.05.2003","09:56:40",1560,480,109128,43793]
["23.05.2003","09:57:10",1560,480,109141,43797]
["23.05.2003","09:57:40",1560,480,109154,43801]
["23.05.2003","09:58:10",1560,480,109167,43805]
["23.05.2003","09:58:40",1440,360,109179,43808]
["23.05.2003","09:59:10",1560,480,109192,43812]
["23.05.2003","09:59:40",1440,480,109204,43816]
["23.05.2003","10:00:10",1680,480,109218,43820]
["23.05.2003","10:00:40",1560,480,109231,43824]
["23.05.2003","10:01:10",1440,480,109243,43828]
["23.05.2003","10:01:40",1440,480,109255,43832]
["23.05.2003","10:02:10",1440,480,109267,43836]
["23.05.2003","10:02:40",1560,480,109280,43840]
["23.05.2003","10:03:10",1560,480,109293,43844]
["23.05.2003","10:03:40",1560,480,109306,43848]
["23.05.2003","10:04:10",1440,480,109318,43852]
["23.05.2003","10:04:40",1560,360,109331,43855]
["23.05.2003","10:05:10",1440,480,109343,43859]
["23.05.2003","10:05:40",1320,480,109354,43863]
["23.05.2003","10:06:10",1560,360,109367,43866]
["23.05.2003","10:06:40",1560,480,109380,43870]
["23.05.2003","10:07:10",1560,480,109393,43874]
["23.05.2003","10:07:40",1440,360,109405,43877]
["23.05.2003","10:08:10",1440,480,109417,43881]
["23.05.2003","10:08:40",1440,360,109429,43884]
["23.05.2003","10:09:10",1560,480,109442,43888]
["23.05.2003","10:09:40",1560,360,109455,43891]
["23.05.2003","10:10:10",1440,480,109467,43895]
["23.05.2003","10:10:40",1440,480,109479,43899]
["23.05.2003","10:11:10",1440,360,109491,43902]
["23.05.2003","10:11:40",1440,480,109503,43906]
["23.05.2003","10:12:10",1560,360,109516,43909]
["23.05.2003","10:12:40",1560,480,109529,43913]
["23.05.2003","10:13:10",1440,480,109541,43917]
["23.05.2003","10:13:40",1440,360,109553,43920]
["23.05.2003","10:14:10",1440,360,109565,43923]
["23.05.2003","10:14:40",1440,480,109577,43927]
["23.05.2003","10:15:10",1320,360,109588,43930]
["23.05.2003","10:15:40",1440,360,109600,43933]
["23.05.2003","10:16:10",1560,480,109613,43937]
["23.05.2003","10:16:40",1440,360,109625,43940]
["23.05.2003","10:17:10",1440,480,109637,43944]
["23.05.2003","10:17:40",1440,360,109649,43947]
["23.05.2003","10:18:10",1440,480,109661,43951]
["23.05.2003","10:18:40",1440,360,109673,43954]
["23.05.2003","10:19:10",1560,480,109686,43958]
["23.05.2003","10:19:40",1560,360,109699,43961]
["23.05.2003","10:20:10",1560,480,109712,43965]
["23.05.2003","10:20:40",1440,360,109724,43968]
["23.05.2003","10:21:10",1320,480,109735,43972]
["23.05.2003","10:21:40",1560,360,109748,43975]
["23.05.2003","10:22:10",1560,480,109761,43979]
["23.05.2003","10:22:40",1560,480,109774,43983]
["23.05.2003","10:23:10",1440,480,109786,43987]
["23.05.2003","10:23:40",1440,480,109798,43991]
["23.05.2003","10:24:10",1440,360,109810,43994]
["23.05.2003","10:24:40",1440,360,109822,43997]
["23.05.2003","10:25:10",1440,480,109834,44001]
["23.05.2003","10:25:40",1680,360,109848,44004]
["23.05.2003","10:26:10",1440,480,109860,44008]
["23.05.2003","10:26:40",1440,480,109872,44012]
["23.05.2003","10:27:10",1440,360,109884,44015]
["23.05.2003","10:27:40",1320,360,109895,44018]
["23.05.2003","10:28:10",1560,480,109908,44022]
["23.05.2003","10:28:40",1560,480,109921,44026]
["23.05.2003","10:29:10",1440,360,109933,44029]
["23.05.2003","10:29:40",1560,480,109946,44033]
["23.05.2003","10:30:10",1440,360,109958,44036]
["23.05.2003","10:30:40",1440,480,109970,44040]
["23.05.2003","10:31:10",1440,480,109982,44044]
["23.05.2003","10:31:40",1560,360,109995,44047]
["23.05.2003","10:32:10",1560,480,110008,44051]
["23.05.2003","10:32:40",1560,480,110021,44055]
["23.05.2003","10:33:10",1440,480,110033,44059]
["23.05.2003","10:33:40",1560,360,110046,44062]
["23.05.2003","10:34:10",1440,480,110058,44066]
["23.05.2003","10:34:40",1440,480,110070,44070]
["23.05.2003","10:35:10",1440,360,110082,44073]
["23.05.2003","10:35:40",1440,480,110094,44077]
["23.05.2003","10:36:10",1560,360,110107,44080]
["23.05.2003","10:36:40",1560,480,110120,44084]
["23.05.2003","10:37:10",1440,480,110132,44088]
["23.05.2003","10:37:40",1440,360,110144,44091]
["23.05.2003","10:38:10",1440,480,110156,44095]
["23.05.2003","10:38:40",1440,360,110168,44098]
["23.05.2003","10:39:10",1680,480,110182,44102]
["23.05.2003","10:39:40",1560,480,110195,44106]
["23.05.2003","10:40:10",1440,480,110207,44110]
["23.05.2003","10:40:40",1440,360,110219,44113]
["23.05.2003","10:41:10",1560,480,110232,44117]
["23.05.2003","10:41:40",1440,480,110244,44121]
["23.05.2003","10:42:10",1560,360,110257,44124]
["23.05.2003","10:42:40",1560,480,110270,44128]
["23.05.2003","10:43:10",1680,480,110284,44132]
["23.05.2003","10:43:40",1560,360,110297,44135]
["23.05.2003","10:44:10",1440,480,110309,44139]
["23.05.2003","10:44:40",1440,480,110321,44143]
["23.05.2003","10:45:10",1440,360,110333,44146]
["23.05.2003","10:45:40",1440,480,110345,44150]
["23.05.2003","10:46:10",1560,480,110358,44154]
["23.05.2003","10:46:40",1560,480,110371,44158]
["23.05.2003","10:47:10",1440,360,110383,44161]
["23.05.2003","10:47:40",1440,480,110395,44165]
["23.05.2003","10:48:10",1440,480,110407,44169]
["23.05.2003","10:48:40",840,360,110414,44172]
["23.05.2003","10:49:10",600,240,110419,44174]
["23.05.2003","10:49:40",480,120,110423,44175]
["23.05.2003","10:50:10",600,120,110428,44176]
["23.05.2003","10:50:40",720,240,110434,44178]
["23.05.2003","10:51:10",600,360,110439,44181]
["23.05.2003","10:51:40",720,120,110445,44182]
["23.05.2003","10:52:10",480,240,110449,44184]
["23.05.2003","10:52:40",720,240,110455,44186]
["23.05.2003","10:53:10",600,240,110460,44188]
["23.05.2003","10:53:40",720,240,110466,44190]
["23.05.2003","10:54:10",600,120,110471,44191]
["23.05.2003","10:54:40",480,240,110475,44193]
["23.05.2003","10:55:10",720,240,110481,44195]
["23.05.2003","10:55:40",720,240,110487,44197]
["23.05.2003","10:56:10",600,240,110492,44199]
["23.05.2003","10:56:40",720,240,110498,44201]
["23.05.2003","10:57:10",840,360,110505,44204]
["23.05.2003","10:57:40",1440,360,110517,44207]
["23.05.2003","10:58:10",1680,480,110531,44211]
["23.05.2003","10:58:40",1560,360,110544,44214]
["23.05.2003","10:59:10",1560,480,110557,44218]
["23.05.2003","10:59:40",1440,480,110569,44222]
["23.05.2003","11:00:10",1080,240,110578,44224]
["23.05.2003","11:00:40",480,240,110582,44226]
["23.05.2003","11:01:10",600,240,110587,44228]
["23.05.2003","11:01:40",720,240,110593,44230]
["23.05.2003","11:02:10",480,240,110597,44232]
["23.05.2003","11:02:40",600,240,110602,44234]
["23.05.2003","11:03:10",600,120,110607,44235]
["23.05.2003","11:03:40",600,240,110612,44237]
["23.05.2003","11:04:10",600,240,110617,44239]
["23.05.2003","11:04:40",480,240,110621,44241]
["23.05.2003","11:05:10",600,120,110626,44242]
["23.05.2003","11:05:40",600,240,110631,44244]
["23.05.2003","11:06:10",600,240,110636,44246]
["23.05.2003","11:06:40",600,240,110641,44248]
["23.05.2003","11:07:10",600,240,110646,44250]
["23.05.2003","11:07:40",600,240,110651,44252]
["23.05.2003","11:08:10",480,240,110655,44254]
["23.05.2003","11:08:40",720,240,110661,44256]
["23.05.2003","11:09:10",600,240,110666,44258]
["23.05.2003","11:09:40",600,240,110671,44260]
["23.05.2003","11:10:10",360,120,110674,44261]
["23.05.2003","11:10:40",480,240,110678,44263]
["23.05.2003","11:11:10",480,240,110682,44265]
["23.05.2003","11:11:40",480,240,110686,44267]
["23.05.2003","11:12:10",480,240,110690,44269]
["23.05.2003","11:12:40",480,120,110694,44270]
["23.05.2003","11:13:10",480,240,110698,44272]
["23.05.2003","11:13:40",480,240,110702,44274]
["23.05.2003","11:14:10",480,240,110706,44276]
["23.05.2003","11:14:40",600,120,110711,44277]
["23.05.2003","11:15:10",480,240,110715,44279]
["23.05.2003","11:15:40",360,240,110718,44281]
["23.05.2003","11:16:10",480,120,110722,44282]
["23.05.2003","11:16:40",480,240,110726,44284]
["23.05.2003","11:17:10",600,240,110731,44286]
["23.05.2003","11:17:40",480,240,110735,44288]
["23.05.2003","11:18:10",480,240,110739,44290]
["23.05.2003","11:18:40",360,120,110742,44291]
["23.05.2003","11:19:10",480,240,110746,44293]
["23.05.2003","11:19:40",480,240,110750,44295]
["23.05.2003","11:20:10",480,120,110754,44296]
["23.05.2003","11:20:40",480,240,110758,44298]
["23.05.2003","11:21:10",360,120,110761,44299]
["23.05.2003","11:21:40",480,240,110765,44301]
["23.05.2003","11:22:10",480,120,110769,44302]
["23.05.2003","11:22:40",480,240,110773,44304]
["23.05.2003","11:23:10",480,240,110777,44306]
["23.05.2003","11:23:40",360,120,110780,44307]
["23.05.2003","11:24:10",480,120,110784,44308]
["23.05.2003","11:24:40",480,240,110788,44310]
["23.05.2003","11:25:10",480,240,110792,44312]
["23.05.2003","11:25:40",360,120,110795,44313]
["23.05.2003","11:26:10",480,120,110799,44314]
["23.05.2003","11:26:40",480,240,110803,44316]
["23.05.2003","11:27:10",480,240,110807,44318]
["23.05.2003","11:27:40",480,240,110811,44320]
["23.05.2003","11:28:10",480,120,110815,44321]
["23.05.2003","11:28:40",360,240,110818,44323]
["23.05.2003","11:29:10",480,120,110822,44324]
["23.05.2003","11:29:40",480,240,110826,44326]
["23.05.2003","11:30:10",480,120,110830,44327]
["23.05.2003","11:30:40",360,240,110833,44329]
["23.05.2003","11:31:10",480,120,110837,44330]
["23.05.2003","11:31:40",360,240,110840,44332]
["23.05.2003","11:32:10",600,120,110845,44333]
["23.05.2003","11:32:40",480,240,110849,44335]
["23.05.2003","11:33:10",360,120,110852,44336]
["23.05.2003","11:33:40",360,240,110855,44338]
["23.05.2003","11:34:10",480,240,110859,44340]
["23.05.2003","11:34:40",480,120,110863,44341]
["23.05.2003","11:35:10",480,240,110867,44343]
["23.05.2003","11:35:40",360,240,110870,44345]
["23.05.2003","11:36:10",480,120,110874,44346]
["23.05.2003","11:36:40",480,240,110878,44348]
["23.05.2003","11:37:10",480,120,110882,44349]
["23.05.2003","11:37:40",600,240,110887,44351]
["23.05.2003","11:38:10",360,240,110890,44353]
["23.05.2003","11:38:40",360,240,110893,44355]
["23.05.2003","11:39:10",480,240,110897,44357]
["23.05.2003","11:39:40",360,120,110900,44358]
["23.05.2003","11:40:10",480,240,110904,44360]
["23.05.2003","11:40:40",600,120,110909,44361]
["23.05.2003","11:41:10",480,240,110913,44363]
["23.05.2003","11:41:40",360,240,110916,44365]
["23.05.2003","11:42:10",360,240,110919,44367]
["23.05.2003","11:42:40",360,120,110922,44368]
["23.05.2003","11:43:10",480,240,110926,44370]
["23.05.2003","11:43:40",480,240,110930,44372]
["23.05.2003","11:44:10",480,240,110934,44374]
["23.05.2003","11:44:40",360,240,110937,44376]
["23.05.2003","11:45:10",360,240,110940,44378]
["23.05.2003","11:45:40",360,120,110943,44379]
["23.05.2003","11:46:10",360,240,110946,44381]
["23.05.2003","11:46:40",360,120,110949,44382]
["23.05.2003","11:47:10",360,120,110952,44383]
["23.05.2003","11:47:40",360,120,110955,44384]
["23.05.2003","11:48:10",480,120,110959,44385]
["23.05.2003","11:48:40",480,240,110963,44387]
["23.05.2003","11:49:10",360,120,110966,44388]
["23.05.2003","11:49:40",480,240,110970,44390]
["23.05.2003","11:50:10",360,120,110973,44391]
["23.05.2003","11:50:40",360,240,110976,44393]
["23.05.2003","11:51:10",480,120,110980,44394]
["23.05.2003","11:51:40",480,240,110984,44396]
["23.05.2003","11:52:10",360,240,110987,44398]
["23.05.2003","11:52:40",480,120,110991,44399]
["23.05.2003","11:53:10",360,240,110994,44401]
["23.05.2003","11:53:40",360,120,110997,44402]
["23.05.2003","11:54:10",360,240,111000,44404]
["23.05.2003","11:54:40",480,240,111004,44406]
["23.05.2003","11:55:10",360,120,111007,44407]
["23.05.2003","11:55:40",360,120,111010,44408]
["23.05.2003","11:56:10",240,120,111012,44409]
["23.05.2003","11:56:40",240,120,111014,44410]
["23.05.2003","11:57:10",240,120,111016,44411]
["23.05.2003","11:57:40",240,120,111018,44412]
["23.05.2003","11:58:10",240,120,111020,44413]
["23.05.2003","11:58:40",240,120,111022,44414]
["23.05.2003","11:59:10",240,240,111024,44416]
["23.05.2003","11:59:40",120,0,111025,44416]
["23.05.2003","12:00:10",120,120,111026,44417]
["23.05.2003","12:00:40",240,0,111028,44417]
["23.05.2003","12:01:10",120,120,111029,44418]
["23.05.2003","12:01:40",240,120,111031,44419]
["23.05.2003","12:02:10",240,120,111033,44420]
["23.05.2003","12:02:40",240,120,111035,44421]
["23.05.2003","12:03:10",120,120,111036,44422]
["23.05.2003","12:03:40",120,120,111037,44423]
["23.05.2003","12:04:10",240,120,111039,44424]
["23.05.2003","12:04:40",120,120,111040,44425]
["23.05.2003","12:05:10",120,0,111041,44425]
["23.05.2003","12:05:40",120,0,111042,44425]
["23.05.2003","12:06:10",120,0,111043,44425]
["23.05.2003","12:06:40",0,0,111043,44425]
["23.05.2003","12:07:10",120,0,111044,44425]
["23.05.2003","12:07:40",120,0,111045,44425]
["23.05.2003","12:08:10",120,120,111046,44426]
["23.05.2003","12:08:40",120,120,111047,44427]
["23.05.2003","12:09:10",0,0,111047,44427]
["23.05.2003","12:09:40",120,120,111048,44428]
["23.05.2003","12:10:10",120,120,111049,44429]
["23.05.2003","12:10:40",120,120,111050,44430]
["23.05.2003","12:11:10",120,0,111051,44430]
["23.05.2003","12:11:40",0,120,111051,44431]
["23.05.2003","12:12:10",120,120,111052,44432]
["23.05.2003","12:12:40",240,240,111054,44434]
["23.05.2003","12:13:10",240,240,111056,44436]
["23.05.2003","12:13:40",240,120,111058,44437]
["23.05.2003","12:14:10",120,240,111059,44439]
["23.05.2003","12:14:40",240,120,111061,44440]
["23.05.2003","12:15:10",120,120,111062,44441]
["23.05.2003","12:15:40",120,120,111063,44442]
["23.05.2003","12:16:10",240,120,111065,44443]
["23.05.2003","12:16:40",120,120,111066,44444]
["23.05.2003","12:17:10",120,120,111067,44445]
["23.05.2003","12:17:40",120,120,111068,44446]
["23.05.2003","12:18:10",240,120,111070,44447]
["23.05.2003","12:18:40",120,120,111071,44448]
["23.05.2003","12:19:10",120,120,111072,44449]
["23.05.2003","12:19:40",240,120,111074,44450]
["23.05.2003","12:20:10",120,120,111075,44451]
["23.05.2003","12:20:40",120,120,111076,44452]
["23.05.2003","12:21:10",120,120,111077,44453]
["23.05.2003","12:21:40",240,120,111079,44454]
["23.05.2003","12:22:10",120,120,111080,44455]
["23.05.2003","12:22:40",240,120,111082,44456]
["23.05.2003","12:23:10",120,120,111083,44457]
["23.05.2003","12:23:40",240,120,111085,44458]
["23.05.2003","12:24:10",240,120,111087,44459]
["23.05.2003","12:24:40",240,120,111089,44460]
["23.05.2003","12:25:10",120,120,111090,44461]
["23.05.2003","12:25:40",120,120,111091,44462]
["23.05.2003","12:26:10",240,120,111093,44463]
["23.05.2003","12:26:40",120,120,111094,44464]
["23.05.2003","12:27:10",120,120,111095,44465]
["23.05.2003","12:27:40",120,0,111096,44465]
["23.05.2003","12:28:10",120,0,111097,44465]
["23.05.2003","12:28:40",120,0,111098,44465]
["23.05.2003","12:29:10",0,0,111098,44465]
["23.05.2003","12:29:40",120,0,111099,44465]
["23.05.2003","12:30:10",120,0,111100,44465]
["23.05.2003","12:30:40",120,120,111101,44466]
["23.05.2003","12:31:10",120,120,111102,44467]
["23.05.2003","12:31:40",0,0,111102,44467]
["23.05.2003","12:32:10",120,120,111103,44468]
["23.05.2003","12:32:40",120,120,111104,44469]
["23.05.2003","12:33:10",120,0,111105,44469]
["23.05.2003","12:33:40",120,120,111106,44470]
["23.05.2003","12:34:10",0,120,111106,44471]
["23.05.2003","12:34:40",240,120,111108,44472]
["23.05.2003","12:35:10",240,240,111110,44474]
["23.05.2003","12:35:40",240,120,111112,44475]
["23.05.2003","12:36:10",120,120,111113,44476]
["23.05.2003","12:36:40",240,120,111115,44477]
["23.05.2003","12:37:10",120,120,111116,44478]
["23.05.2003","12:37:40",120,120,111117,44479]
["23.05.2003","12:38:10",120,120,111118,44480]
["23.05.2003","12:38:40",240,120,111120,44481]
["23.05.2003","12:39:10",120,120,111121,44482]
["23.05.2003","12:39:40",120,0,111122,44482]
["23.05.2003","12:40:10",120,120,111123,44483]
["23.05.2003","12:40:40",240,120,111125,44484]
["23.05.2003","12:41:10",120,120,111126,44485]
["23.05.2003","12:41:40",120,120,111127,44486]
["23.05.2003","12:42:10",120,120,111128,44487]
["23.05.2003","12:42:40",240,0,111130,44487]
["23.05.2003","12:43:10",120,120,111131,44488]
["23.05.2003","12:43:40",120,120,111132,44489]
["23.05.2003","12:44:10",240,120,111134,44490]
["23.05.2003","12:44:40",120,120,111135,44491]
["23.05.2003","12:45:10",120,120,111136,44492]
["23.05.2003","12:45:40",240,120,111138,44493]
["23.05.2003","12:46:10",360,120,111141,44494]
["23.05.2003","12:46:40",120,0,111142,44494]
["23.05.2003","12:47:10",120,120,111143,44495]
["23.05.2003","12:47:40",240,120,111145,44496]
["23.05.2003","12:48:10",120,120,111146,44497]
["23.05.2003","12:48:40",240,120,111148,44498]
["23.05.2003","12:49:10",120,0,111149,44498]
["23.05.2003","12:49:40",120,0,111150,44498]
["23.05.2003","12:50:10",120,0,111151,44498]
["23.05.2003","12:50:40",0,0,111151,44498]
["23.05.2003","12:51:10",120,120,111152,44499]
["23.05.2003","12:51:40",120,0,111153,44499]
["23.05.2003","12:52:10",120,0,111154,44499]
["23.05.2003","12:52:40",120,120,111155,44500]
["23.05.2003","12:53:10",120,0,111156,44500]
["23.05.2003","12:53:40",120,120,111157,44501]
["23.05.2003","12:54:10",120,120,111158,44502]
["23.05.2003","12:54:40",120,0,111159,44502]
["23.05.2003","12:55:10",120,120,111160,44503]
["23.05.2003","12:55:40",120,120,111161,44504]
["23.05.2003","12:56:10",120,120,111162,44505]
["23.05.2003","12:56:40",240,120,111164,44506]
["23.05.2003","12:57:10",240,240,111166,44508]
["23.05.2003","12:57:40",360,360,111169,44511]
["23.05.2003","12:58:10",240,120,111171,44512]
["23.05.2003","12:58:40",240,120,111173,44513]
["23.05.2003","12:59:10",120,120,111174,44514]
["23.05.2003","12:59:40",240,120,111176,44515]
["23.05.2003","13:00:10",240,120,111178,44516]
["23.05.2003","13:00:40",240,0,111180,44516]
["23.05.2003","13:01:10",240,120,111182,44517]
["23.05.2003","13:01:40",360,120,111185,44518]
["23.05.2003","13:02:10",360,120,111188,44519]
["23.05.2003","13:02:40",360,120,111191,44520]
["23.05.2003","13:03:10",240,120,111193,44521]
["23.05.2003","13:03:40",240,120,111195,44522]
["23.05.2003","13:04:10",240,240,111197,44524]
["23.05.2003","13:04:40",240,0,111199,44524]
["23.05.2003","13:05:10",360,360,111202,44527]
["23.05.2003","13:05:40",480,240,111206,44529]
["23.05.2003","13:06:10",360,240,111209,44531]
["23.05.2003","13:06:40",480,120,111213,44532]
["23.05.2003","13:07:10",360,120,111216,44533]
["23.05.2003","13:07:40",240,240,111218,44535]
["23.05.2003","13:08:10",360,120,111221,44536]
["23.05.2003","13:08:40",360,120,111224,44537]
["23.05.2003","13:09:10",480,240,111228,44539]
["23.05.2003","13:09:40",480,120,111232,44540]
["23.05.2003","13:10:10",360,240,111235,44542]
["23.05.2003","13:10:40",360,120,111238,44543]
["23.05.2003","13:11:10",480,120,111242,44544]
["23.05.2003","13:11:40",480,240,111246,44546]
["23.05.2003","13:12:10",480,120,111250,44547]
["23.05.2003","13:12:40",360,240,111253,44549]
["23.05.2003","13:13:10",360,120,111256,44550]
["23.05.2003","13:13:40",480,240,111260,44552]
["23.05.2003","13:14:10",480,120,111264,44553]
["23.05.2003","13:14:40",480,240,111268,44555]
["23.05.2003","13:15:10",360,240,111271,44557]
["23.05.2003","13:15:40",360,120,111274,44558]
["23.05.2003","13:16:10",480,240,111278,44560]
["23.05.2003","13:16:40",480,120,111282,44561]
["23.05.2003","13:17:10",480,240,111286,44563]
["23.05.2003","13:17:40",360,120,111289,44564]
["23.05.2003","13:18:10",360,120,111292,44565]
["23.05.2003","13:18:40",360,240,111295,44567]
["23.05.2003","13:19:10",480,120,111299,44568]
["23.05.2003","13:19:40",480,240,111303,44570]
["23.05.2003","13:20:10",360,120,111306,44571]
["23.05.2003","13:20:40",360,240,111309,44573]
["23.05.2003","13:21:59",455.696,182.278,111319,44577]
["23.05.2003","13:22:29",480,120,111323,44578]
["23.05.2003","13:22:59",360,240,111326,44580]
["23.05.2003","13:23:29",360,120,111329,44581]
["23.05.2003","13:23:59",480,240,111333,44583]
["23.05.2003","13:24:29",480,240,111337,44585]
["23.05.2003","13:24:59",480,120,111341,44586]
["23.05.2003","13:25:29",480,240,111345,44588]
["23.05.2003","13:25:59",360,120,111348,44589]
["23.05.2003","13:26:29",480,240,111352,44591]
["23.05.2003","13:26:59",480,240,111356,44593]
["23.05.2003","13:27:29",600,240,111361,44595]
["23.05.2003","13:27:59",480,120,111365,44596]
["23.05.2003","13:28:29",360,240,111368,44598]
["23.05.2003","13:28:59",360,120,111371,44599]
["23.05.2003","13:29:29",480,240,111375,44601]
["23.05.2003","13:29:59",480,120,111379,44602]
["23.05.2003","13:30:29",480,240,111383,44604]
["23.05.2003","13:30:59",360,240,111386,44606]
["23.05.2003","13:31:29",360,240,111389,44608]
["23.05.2003","13:31:59",480,120,111393,44609]
["23.05.2003","13:32:29",480,120,111397,44610]
["23.05.2003","13:32:59",480,240,111401,44612]
["23.05.2003","13:33:29",360,120,111404,44613]
["23.05.2003","13:33:59",360,240,111407,44615]
["23.05.2003","13:34:29",480,240,111411,44617]
["23.05.2003","13:34:59",480,120,111415,44618]
["23.05.2003","13:35:29",480,240,111419,44620]
["23.05.2003","13:35:59",360,120,111422,44621]
["23.05.2003","13:36:29",360,240,111425,44623]
["23.05.2003","13:36:59",480,240,111429,44625]
["23.05.2003","13:37:29",480,120,111433,44626]
["23.05.2003","13:37:59",480,240,111437,44628]
["23.05.2003","13:38:29",480,240,111441,44630]
["23.05.2003","13:38:59",360,120,111444,44631]
["23.05.2003","13:39:29",360,240,111447,44633]
["23.05.2003","13:39:59",360,120,111450,44634]
["23.05.2003","13:40:29",480,240,111454,44636]
["23.05.2003","13:40:59",480,240,111458,44638]
["23.05.2003","13:41:29",480,240,111462,44640]
["23.05.2003","13:41:59",360,120,111465,44641]
["23.05.2003","13:42:29",360,240,111468,44643]
["23.05.2003","13:42:59",480,120,111472,44644]
["23.05.2003","13:43:29",480,240,111476,44646]
["23.05.2003","13:43:59",480,240,111480,44648]
["23.05.2003","13:44:29",480,240,111484,44650]
["23.05.2003","13:44:59",360,120,111487,44651]
["23.05.2003","13:45:29",480,240,111491,44653]
["23.05.2003","13:45:59",480,240,111495,44655]
["23.05.2003","13:46:29",600,240,111500,44657]
["23.05.2003","13:46:59",480,240,111504,44659]
["23.05.2003","13:47:29",360,240,111507,44661]
["23.05.2003","13:47:59",360,240,111510,44663]
["23.05.2003","13:48:29",480,120,111514,44664]
["23.05.2003","13:48:59",600,240,111519,44666]
["23.05.2003","13:49:29",480,240,111523,44668]
["23.05.2003","13:49:59",480,120,111527,44669]
["23.05.2003","13:50:29",360,120,111530,44670]
["23.05.2003","13:50:59",360,240,111533,44672]
["23.05.2003","13:51:29",480,240,111537,44674]
["23.05.2003","13:51:59",480,240,111541,44676]
["23.05.2003","13:52:29",480,120,111545,44677]
["23.05.2003","13:52:59",360,240,111548,44679]
["23.05.2003","13:53:29",360,240,111551,44681]
["23.05.2003","13:53:59",480,240,111555,44683]
["23.05.2003","13:54:29",480,120,111559,44684]
["23.05.2003","13:54:59",480,240,111563,44686]
["23.05.2003","13:55:29",480,240,111567,44688]
["23.05.2003","13:55:59",360,240,111570,44690]
["23.05.2003","13:56:29",360,240,111573,44692]
["23.05.2003","13:56:59",480,240,111577,44694]
["23.05.2003","13:57:29",480,240,111581,44696]
["23.05.2003","13:57:59",480,120,111585,44697]
["23.05.2003","13:58:29",360,240,111588,44699]
["23.05.2003","13:58:59",360,240,111591,44701]
["23.05.2003","13:59:29",480,120,111595,44702]
["23.05.2003","13:59:59",480,240,111599,44704]
["23.05.2003","14:00:29",480,240,111603,44706]
["23.05.2003","14:00:59",360,240,111606,44708]
["23.05.2003","14:01:29",360,240,111609,44710]
["23.05.2003","14:01:59",480,120,111613,44711]
["23.05.2003","14:02:29",480,240,111617,44713]
["23.05.2003","14:02:59",480,240,111621,44715]
["23.05.2003","14:03:29",360,120,111624,44716]
["23.05.2003","14:03:59",360,240,111627,44718]
["23.05.2003","14:04:29",360,240,111630,44720]
["23.05.2003","14:04:59",480,120,111634,44721]
["23.05.2003","14:05:29",480,240,111638,44723]
["23.05.2003","14:05:59",360,240,111641,44725]
["23.05.2003","14:06:29",360,120,111644,44726]
["23.05.2003","14:06:59",360,240,111647,44728]
["23.05.2003","14:07:29",480,240,111651,44730]
["23.05.2003","14:07:59",480,240,111655,44732]
["23.05.2003","14:08:29",480,120,111659,44733]
["23.05.2003","14:08:59",360,120,111662,44734]
["23.05.2003","14:09:29",360,240,111665,44736]
["23.05.2003","14:09:59",360,120,111668,44737]
["23.05.2003","14:10:29",480,240,111672,44739]
["23.05.2003","14:10:59",480,240,111676,44741]
["23.05.2003","14:11:29",360,120,111679,44742]
["23.05.2003","14:11:59",480,120,111683,44743]
["23.05.2003","14:12:29",360,240,111686,44745]
["23.05.2003","14:12:59",360,240,111689,44747]
["23.05.2003","14:13:29",480,120,111693,44748]
["23.05.2003","14:13:59",480,240,111697,44750]
["23.05.2003","14:14:29",480,120,111701,44751]
["23.05.2003","14:14:59",360,240,111704,44753]
["23.05.2003","14:15:29",360,120,111707,44754]
["23.05.2003","14:15:59",360,240,111710,44756]
["23.05.2003","14:16:29",480,120,111714,44757]